| ## Aultbea Hall risk assessment form |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No: 8 |  | Activity / location /area: Fire Assessment for the Building |  | Assessment date: 3.10.23 |  | Review date: 3.10.25 |  |
| Hazard and risk |  | People at risk | Our current controls | Our future controls |  | Risk level | Target date & by whom |
| Accident - Injury/death. | Employees Volunteers Committee Members of the public |  | - All the building is a no smoking area - All the building has a fire alarm system - All the building has suitable fire extinguishers, break glass points and alarm sounders which are located at appropriate areas. These are regularly tested - Volunteers and employees should be trained in fire evacuation procedures - Fire doors are always kept shut and never wedged open - Fire alarm tested weekly using different call points and records kept - Fire drills held twice a year and records kept - Rubbish collected on a weekly basis - Fire extinguishers are serviced annually - Fire exits are available and suitably marked |  | - Re-assess the risk of Fire when any relevant repairs or replacement work has been carried out - Volunteers and employees to be trained in fire evacuation procedures on an annual basis | Low Low | When required. By Committee When required. By Committee |

| ## Risk assessment (continued) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No: 8 |  | Activity: Fire Assessment for the Building |  |  | Assessment date: | Review date: |  |
| Hazard and risk | People at risk |  | Our current controls | Our future controls |  | Risk level | Target date & by whom |
|  |  |  | - Fire escape routes are kept free from obstruction - All fire safety signs and fire exit notices can be clearly seen - All escape routes are adequately lit with emergency lighting - Fire evacuation system is in place with a designate responsible person always in charge of fire evacuation when the building is occupied. |  |  |  |  |
| ### Assessor’s signature: ### Date: |  |  |  | ### Signed off by: ### Date: |  |  |  |