

	Aultbea Hall risk assessment form

	No:  8
	Activity / location /area:  Fire Assessment for the Building
	Assessment date: 3.10.23

	Review date: 3.10.25

	Hazard and risk

	People at risk

	Our current controls

	Our future controls

	Risk level

	Target date & by whom


	Accident 
- Injury/death.








	 Employees  Volunteers
Committee
Members of the public
	· All the building is a no smoking area


· All the building has a fire alarm system

· All the building has suitable fire extinguishers, break glass points and alarm sounders which are located at appropriate areas. These are regularly tested

· Volunteers and employees should be trained in fire evacuation procedures

· Fire doors are always kept shut and never wedged open

· Fire alarm tested weekly using different call points and records kept

· Fire drills held twice a year and records kept

· Rubbish collected on a weekly basis

· Fire extinguishers are serviced annually

· Fire exits are available and suitably marked



	· Re-assess the risk of Fire when any relevant repairs or replacement work has been carried out








· Volunteers and employees to be trained in fire evacuation procedures on an annual basis





	Low










Low
	When required. By Committee









When required. By Committee








	Risk assessment (continued)

	No: 8
	Activity: Fire Assessment for the Building

	Assessment date: 
	Review date: 

	Hazard and risk
	People at risk
	Our current controls
	Our future controls
	Risk level
	Target date & by whom

	





	
	
· Fire escape routes are kept free from obstruction

· All fire safety signs and fire exit notices can be clearly seen

· All escape routes are adequately lit with emergency lighting

· Fire evacuation system is in place with a designate responsible person always in charge of fire evacuation when the building is occupied.

	








	









	








	Assessor’s signature:

Date:
	Signed off by:

Date:



